| ## Company Name & Site Details |  |  |  |
| --- | --- | --- | --- |
| ## Samples Submitted By & Date: |  |  |  |
| ## Purchase Order Number: |  | ## Manufacturer’s Certificate of Analysis Enclosed? | ## Yes / No |
| ## Results to be Issued To (please provide e-mail address(s)): |  |  |  |

In accordance with GMP: All relevant sections of the Submission Form must be completed in order to ensure the smooth process of samples, any sections incomplete will result in a delay in the analysis of samples.  (Please complete all columns and strike out any that are not applicable).  Similarly if samples are received with insufficient labelling delays may occur.

| # Biological Indicator Details |  |
| --- | --- |
| ### Manufacturer: |  |
| Type: |  |
| Batch/Lot Number: |  |
| Additional Details (if applicable e.g. exposed BI’s run details): |  |
| TSB Details (if submitted with Biological Indicator) |  |
| Batch/Lot Number |  |

| # Analysis Requirements |  |  |
| --- | --- | --- |
| Analysis | Tick if Required | Comments |
| # Population | ###### HGL Method/Manufacturers Method1 | HGL will verify the population using the HGL method, which is compliant with the current USP/ISO1138, unless the Manufacturers method is specifically requested and a copy of the method is submitted with the samples. |
| # D-value ###### USP/ISO11138 specification |  | 2HGL will verify the D-value using the LSK fractional method of analysis in the first instance unless the fractional SMC method is specified. If the resulting data is not compliant with the LSK requirements then further replicates will be run to allow the use of the SMC method. |
| Identification |  |  |
| EP/USP Survival Time Time from C of A or calculated using EP/USP formula |  |  |
| EP/USP Kill Time Time from C of A or calculated using EP/USP formula |  |  |
| Exposed BI’s for Processing and Incubation (please include the number submitted) |  |  |
| Other |  |  |

1Delete as appropriate,  2LSK = Limited Spearman Karber Method.  SMC = Stumbo Murphy and Cochran Method.

| Honeyman Group Ltd Use Only |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Samples Received |  | Samples Received in a Satisfactory Condition? Record any damages, breakages, etc. |  | CoA Received? |  | PO Received? | Client Informed (Sign & Date) |
| By: |  | Sample Check Performed By & Date: |  |  |  |  |  |
| Date: |  |  |  | Yes / No | Yes / No |  |  |
| Time: |  |  |  |  |  |  |  |